## Notes
ISO New England Public
Explanation of Monthly Data by Load Zone.xls File (Commencing September 12, 2016)
The data in this file comprise monthly summaries of Real-Time (RT) demand, DA and RT locational marginal prices, weather data, peak system load, and net interchange for the ISO New England Control Area (ISO NE CA) and its eight wholesale load zones.
Column Heading |  | Description
Year |  | The calendar year of the provided data
Month |  | The calendar month of the provided data; 1 = January, 2 = February, etc.
Energy |  | The monthly total Non-PTF Demand, in GWh, for wholesale market settlement from revenue quality metering; Defined as the sum of non-dispatchable load assets, station service load assets, and unmetered load assets
CDD |  | The total Cooling Degree Days (CDD) for the month; Calculated as where i=1 to number of days in the month
HDD |  | The total Heating Degree Days (HDD) for the month; Calculated as where i=1 to number of days in the month
Peak_Day |  | The day during the month in which the actual peak demand occurred
Pk_Day_Type |  | The daytype of the peak day; 1 = Monday, 2 = Tuesday, etc.
Peak_Demand |  | The maximum hourly real-time demand during the month, in MWh; the Non-PTF Demand for wholesale market settlement from revenue quality metering, and is defined as the sum of non-dispatchable load assets, station service load assets, and unmetered load assets
Peak_Hr |  | The hour (ending) in which the Peak Real Time Demand occurred
Peak_DB |  | The drybulb temperature, in °Farenheit, at the time of the peak demand at the representative weather station (see below)
Peak_DP |  | The dewpoint temperature, in °Farenheit, at the time of the peak demand at the representative weather station (see below)
Peak_WTHI |  | The three-day weighted average of the temperature-humidity index at the hour of the peak demand; Calculated for the months of April through October; (See calculation notes below)
Note concerning weather data: For each load zone, a representative weather station's data is presented as outlined in the table below, and should not be construed as an observation's applicability to the entire load zone. The data on the 'ISO NE CA' tab is a weighted value, derived from historical electricity sales data, as outlined below.
|  |  | Weather | Station |  |  | NE Summer | NE Winter
|  |  | Station | Code | State | Load Zone | Weight | Weight
|  |  | Boston | BOS | MA | NEMA | 20.1% | 21.4%
|  |  | Bridgeport | BDR | CT | n/a | 7% | 7.5%
|  |  | Burlington | BTV | VT | VT | 4.6% | 4%
|  |  | Concord | CON | NH | NH | 5.8% | 5.5%
|  |  | Portland | PWM | ME | ME | 8.5% | 8.2%
|  |  | Providence | PVD | RI | RI, SEMA | 4.9% | 4.8%
|  |  | Windsor Locks | BDL | CT | CT | 27.7% | 27.7%
|  |  | Worcester | ORH | MA | WCMA | 21.4% | 20.9%
Min_Demand |  | The minimum hourly real-time demand in MWh for the month the Non-PTF Demand for wholesale market settlement from revenue quality metering, and is defined as the sum of non-dispatchable load assets, station service load assets, and unmetered load assets
RT_LMP |  | Real-Time Locational Marginal Price (LMP) in $/MWh at the hour of the peak demand during the month, by load zone; 'ISO NE CA' tab contains values for the Trading Hub
Avg_DA_LMP |  | Average Day-Ahead Locational Marginal Price (LMP) for the month in $/MWh by load zone; 'ISO NE CA' tab contains values for the Trading Hub
Avg_RT_LMP |  | Average Real-Time Locational Marginal Price (LMP) for the month in $/MWh by load zone; 'ISO NE CA' tab contains values for the Trading Hub
OnPk_DA_LMP |  | Average Day-Ahead Locational Marginal Price (LMP) for the month in $/MWh during on-peak hours, by load zone; 'ISO NE CA' tab contains values for the Trading Hub; Null (no value) for off-peak days; Hours ending 8:00 to 23:00 on non-NERC holiday weekdays
OnPk_RT_LMP |  | Average Real-Time Locational Marginal Price (LMP) for the month in $/MWh during on-peak hours, by load zone; 'ISO NE CA' tab contains values for the Trading Hub; Null (no value) for off-peak days; Hours ending 8:00 to 23:00 on non-NERC holiday weekdays
OffPk_DA_LMP |  | Average Day-Ahead Locational Marginal Price (LMP) for the month in $/MWh during off-peak hours, by load zone; 'ISO NE CA' tab contains values for the Trading Hub
OffPk_RT_LMP |  | Average Real-Time Locational Marginal Price (LMP) for the month in $/MWh during off-peak hours, by load zone; 'ISO NE CA' tab contains values for the Trading Hub
NEL |  | (ISO NE CA tab only) is the actual monthly total New England Net Energy for Load in GWh as determined by metering, and is used for planning and reporting purposes, not for settlement; Net Energy for Load is the sum of metered generation and metered net interchange less demand from pumped storage units
System_Peak |  | (ISO NE CA tab only) is the actual New England system peak hour load during the month, in MW, as determined by metering, and is used for planning and reporting purposes, not for settlement; System Peak Load is the sum of metered generation and metered net interchange less demand from pumped storage units
System_Peak_Day |  | (ISO NE CA tab only) The day on which the System Peak Load for the month occurred
System_Peak_Hr |  | (ISO NE CA tab only) The hour (ending) when the System Peak Load for the month occurred
OP4 |  | (ISO NE CA tab only) is any reconstitution, in MW, for Actions of ISO-NE Operating Procedure No. 4, Actions in a Capacity Deficiency, at the hour of the System Peak Load during the month
Net_Int |  | (ISO NE CA tab only) The total net interchange with neighboring control areas during the month, in GWh; Positive values denote imports
Calculation Notes:
|  | Temperature-Humidity Index (THI) = 0.5 * Drybulb TemperatureHour + 0.3 * Dewpoint TemperatureHour + 15
|  | Weighted THI = { [10 * THId + 5 * THId-1 + 2 * THId-2] / 17 }
|  | NERC holidays are New Year's Day, Memorial Day, Independence Day, Labor Day, Thanksgiving, and Christmas
Hourly settlement values are subject to re-settlement by the ISO. Revised data may be posted at any time.
ISO New England Public
Market Analysis & Settlement
DRP Settlement Jan 2016-Dec 2016; Initial Settlement None; Not Settled None

## ISO NE CA
Year | Month | Energy | CDD | HDD | Peak_Day | Pk_Day_Type | Peak_Demand | Peak_Hour | Peak_DB | Peak_DP | Peak_WTHI | Min_Demand | RT_LMP | Avg_DA_LMP | Avg_RT_LMP | OnPk_DA_LMP | OnPk_RT_LMP | OffPk_DA_LMP | OffPk_RT_LMP | NEL | System_Peak | System_Peak_Day | System_Peak_Hr | OP4 | Net_Int
2016 | 1 | 10838 | 0 | 1092 | 19 | 2 | 19151 | 19 | 21 | 5 | 0 | 10139 | 68.94 | 38.5984 | 33.9933 | 45.4155 | 41.3971 | 33.4534 | 28.4055 | 11015 | 19451 | 19 | 19 | 0 | 2377
2016 | 2 | 9957 | 0 | 963 | 15 | 1 | 19236 | 18 | 18 | 7 | 0 | 9888 | 78.91 | 29.9041 | 27.3933 | 33.0366 | 30.9958 | 26.9804 | 24.0309 | 10126 | 19561 | 15 | 18 | 0 | 1947
2016 | 3 | 9665 | 0 | 731 | 3 | 4 | 17068 | 19 | 29 | 1 | 0 | 9315 | 29.96 | 20.6296 | 17.1991 | 23.1021 | 20.0692 | 18.2032 | 14.3826 | 9819 | 17341 | 3 | 19 | 0 | 1715
2016 | 4 | 8887 | 0 | 556 | 4 | 1 | 16685 | 20 | 26 | 20 | 35 | 8810 | 93.31 | 28.3564 | 27.9994 | 32.7348 | 32.9834 | 24.5254 | 23.6384 | 9020 | 16963 | 4 | 20 | 0 | 923
2016 | 5 | 9306 | 10 | 246 | 31 | 2 | 18740 | 18 | 84 | 49 | 71 | 8714 | 35.96 | 21.2437 | 21.2925 | 24.8883 | 25.479 | 18.2423 | 17.8448 | 9433 | 19029 | 31 | 18 | 0 | 744
2016 | 6 | 10013 | 17 | 29 | 29 | 3 | 19688 | 17 | 81 | 60 | 73 | 9145 | 38.62 | 22.608 | 21.2391 | 26.8914 | 26.2521 | 18.5108 | 16.444 | 10176 | 19966 | 29 | 17 | 0 | 1515
2016 | 7 | 12186 | 130 | 5 | 22 | 5 | 23983 | 17 | 94 | 65 | 78 | 9401 | 52.63 | 31.117 | 29.3316 | 42.6109 | 39.5733 | 22.4423 | 21.602 | 12387 | 24416 | 22 | 17 | 0 | 1865
2016 | 8 | 12444 | 143 | 0 | 12 | 5 | 25192 | 15 | 93 | 72 | 82 | 10217 | 379.95 | 35.5418 | 40.1946 | 43.8783 | 53.6499 | 27.3827 | 27.0256 | 12642 | 25596 | 12 | 15 | 183 | 2164
2016 | 9 | 10001 | 51 | 68 | 9 | 5 | 22737 | 17 | 90 | 65 | 77 | 8784 | 135.93 | 28.6165 | 27.2147 | 37.4359 | 33.7787 | 20.8995 | 21.4711 | 10164 | 23142 | 9 | 17 | 0 | 1693
2016 | 10 | 9209 | 0 | 366 | 27 | 4 | 16061 | 19 | 38 | 36 | 44 | 8896 | 45.27 | 21.9824 | 22.7205 | 27.2477 | 27.58 | 17.6463 | 18.7186 | 9356 | 16298 | 27 | 19 | 0 | 1719
2016 | 11 | 9236 | 0 | 639 | 21 | 1 | 17215 | 18 | 33 | 18 | 0 | 9166 | 32.54 | 24.9972 | 24.3146 | 28.4734 | 28.4916 | 21.9555 | 20.6598 | 9393 | 17517 | 21 | 18 | 0 | 1808
2016 | 12 | 10714 | 0 | 1012 | 15 | 4 | 19363 | 18 | 18 | -9 | 0 | 9886 | 118.53 | 53.2759 | 53.8252 | 60.5108 | 59.9713 | 47.3177 | 48.7637 | 10884 | 19647 | 15 | 18 | 0 | 2333

## ME
Year | Month | Energy | CDD | HDD | Peak_Day | Pk_Day_Type | Peak_Demand | Peak_Hour | Peak_DB | Peak_DP | Peak_WTHI | Min_Demand | RT_LMP | Avg_DA_LMP | Avg_RT_LMP | OnPk_DA_LMP | OnPk_RT_LMP | OffPk_DA_LMP | OffPk_RT_LMP
2016 | 1 | 1013 | 0 | 1156 | 13 | 3 | 1717 | 18 | 23 | 3 | 0 | 969 | 41.66 | 37.206 | 32.3635 | 43.5094 | 39.1134 | 32.4487 | 27.2692
2016 | 2 | 919 | 0 | 1021 | 8 | 1 | 1658 | 18 | 19 | 15 | 0 | 940 | 62.83 | 28.6155 | 25.3431 | 31.7962 | 28.6132 | 25.6468 | 22.291
2016 | 3 | 938 | 0 | 847 | 3 | 4 | 1552 | 19 | 24 | -6 | 0 | 935 | 29.01 | 19.9807 | 16.6347 | 22.2223 | 19.4132 | 17.781 | 13.9081
2016 | 4 | 867 | 0 | 652 | 4 | 1 | 1473 | 09 | 21 | 3 | 33 | 908 | 50.28 | 27.7239 | 27.035 | 32.0344 | 31.652 | 23.9523 | 22.9951
2016 | 5 | 877 | 2 | 332 | 31 | 2 | 1438 | 14 | 82 | 51 | 68 | 843 | 31.05 | 20.8171 | 20.7685 | 24.2893 | 24.8295 | 17.9576 | 17.4242
2016 | 6 | 884 | 7 | 70 | 27 | 1 | 1557 | 14 | 80 | 59 | 71 | 878 | 29 | 22.2792 | 20.8483 | 26.4083 | 25.6773 | 18.3295 | 16.2292
2016 | 7 | 1021 | 89 | 16 | 26 | 2 | 1830 | 17 | 87 | 61 | 75 | 891 | 47.22 | 30.0898 | 28.0707 | 40.9177 | 37.4715 | 21.9178 | 20.9758
2016 | 8 | 1047 | 94 | 0 | 12 | 5 | 1854 | 13 | 95 | 69 | 81 | 972 | 198.89 | 34.5197 | 37.8617 | 42.5867 | 49.8964 | 26.6244 | 26.0832
2016 | 9 | 916 | 29 | 100 | 9 | 5 | 1700 | 15 | 87 | 70 | 76 | 907 | 84.37 | 28.1382 | 26.6449 | 36.6951 | 33.0229 | 20.651 | 21.0641
2016 | 10 | 922 | 0 | 438 | 24 | 1 | 1514 | 19 | 47 | 29 | 49 | 907 | 30.55 | 21.9771 | 21.9438 | 26.9987 | 26.6364 | 17.8416 | 18.0794
2016 | 11 | 886 | 0 | 702 | 29 | 2 | 1571 | 18 | 48 | 47 | 0 | 871 | 152.22 | 24.6387 | 23.6353 | 28.127 | 27.6647 | 21.5864 | 20.1096
2016 | 12 | 1015 | 0 | 1121 | 16 | 5 | 1758 | 18 | 6 | -14 | 0 | 964 | 107.75 | 52.4221 | 51.9973 | 59.7911 | 58.4185 | 46.3536 | 46.7093

## NH
Year | Month | Energy | CDD | HDD | Peak_Day | Pk_Day_Type | Peak_Demand | Peak_Hour | Peak_DB | Peak_DP | Peak_WTHI | Min_Demand | RT_LMP | Avg_DA_LMP | Avg_RT_LMP | OnPk_DA_LMP | OnPk_RT_LMP | OffPk_DA_LMP | OffPk_RT_LMP
2016 | 1 | 1039 | 0 | 1173 | 19 | 2 | 1848 | 18 | 18 | 3 | 0 | 941 | 82.65 | 38.3561 | 33.5729 | 44.9876 | 40.757 | 33.3512 | 28.1509
2016 | 2 | 952 | 0 | 1042 | 14 | 7 | 1848 | 19 | 5 | -18 | 0 | 909 | 56.22 | 29.5726 | 26.4206 | 32.8377 | 29.8227 | 26.5251 | 23.2454
2016 | 3 | 938 | 0 | 787 | 3 | 4 | 1703 | 19 | 25 | -2 | 0 | 860 | 29.87 | 20.5327 | 17.0277 | 22.9145 | 19.8547 | 18.1954 | 14.2535
2016 | 4 | 855 | 0 | 604 | 4 | 1 | 1593 | 20 | 25 | 17 | 33 | 814 | 93.41 | 28.1799 | 27.5443 | 32.5815 | 32.3601 | 24.3284 | 23.3305
2016 | 5 | 891 | 6 | 248 | 31 | 2 | 1746 | 18 | 86 | 44 | 71 | 810 | 35.53 | 21.1151 | 21.0924 | 24.7322 | 25.2501 | 18.1363 | 17.6685
2016 | 6 | 952 | 17 | 51 | 20 | 1 | 1962 | 17 | 89 | 62 | 77 | 836 | 49.34 | 22.6328 | 21.2022 | 26.9198 | 26.2414 | 18.5321 | 16.3821
2016 | 7 | 1122 | 99 | 9 | 22 | 5 | 2229 | 17 | 96 | 62 | 78 | 860 | 49.45 | 30.9805 | 29.0037 | 42.396 | 39.2306 | 22.3651 | 21.2853
2016 | 8 | 1137 | 105 | 0 | 12 | 5 | 2367 | 17 | 98 | 69 | 83 | 931 | 251.02 | 35.4129 | 39.3508 | 43.7938 | 52.2315 | 27.2103 | 26.7441
2016 | 9 | 929 | 38 | 99 | 9 | 5 | 2056 | 16 | 92 | 61 | 77 | 810 | 134.1 | 28.5439 | 27.1654 | 37.3565 | 33.7742 | 20.8329 | 21.3828
2016 | 10 | 882 | 0 | 442 | 27 | 4 | 1547 | 19 | 41 | 38 | 45 | 817 | 45.51 | 22.067 | 22.7946 | 27.4287 | 27.8346 | 17.6515 | 18.644
2016 | 11 | 894 | 0 | 727 | 21 | 1 | 1671 | 18 | 33 | 16 | 0 | 845 | 31.95 | 24.8996 | 24.0703 | 28.4129 | 28.1689 | 21.8255 | 20.4841
2016 | 12 | 1040 | 0 | 1130 | 16 | 5 | 1892 | 18 | 6 | -13 | 0 | 946 | 112.04 | 52.9645 | 53.3757 | 60.3269 | 59.6536 | 46.9013 | 48.2057

## VT
Year | Month | Energy | CDD | HDD | Peak_Day | Pk_Day_Type | Peak_Demand | Peak_Hour | Peak_DB | Peak_DP | Peak_WTHI | Min_Demand | RT_LMP | Avg_DA_LMP | Avg_RT_LMP | OnPk_DA_LMP | OnPk_RT_LMP | OffPk_DA_LMP | OffPk_RT_LMP
2016 | 1 | 532 | 0 | 1230 | 4 | 1 | 927 | 18 | 3 | -7 | 0 | 495 | 66.96 | 38.3968 | 33.5279 | 45.2812 | 40.8814 | 33.201 | 27.978
2016 | 2 | 477 | 0 | 1104 | 14 | 7 | 902 | 19 | 0 | -16 | 0 | 475 | 57.52 | 29.7921 | 26.7721 | 33.0312 | 30.2044 | 26.7689 | 23.5686
2016 | 3 | 462 | 0 | 872 | 2 | 3 | 806 | 19 | 20 | 6 | 0 | 469 | 54.79 | 20.5426 | 16.8569 | 23.0426 | 19.6829 | 18.0894 | 14.0837
2016 | 4 | 408 | 0 | 690 | 4 | 1 | 744 | 21 | 24 | 3 | 29 | 429 | 59.37 | 27.913 | 27.1554 | 32.3123 | 32.0113 | 24.0636 | 22.9065
2016 | 5 | 415 | 22 | 236 | 28 | 6 | 745 | 21 | 83 | 58 | 74 | 420 | 40.83 | 21.0591 | 20.9867 | 24.6987 | 25.1162 | 18.0617 | 17.5859
2016 | 6 | 428 | 24 | 59 | 20 | 1 | 794 | 21 | 85 | 56 | 74 | 437 | 35.43 | 22.8271 | 21.2049 | 27.2384 | 26.2799 | 18.6076 | 16.3505
2016 | 7 | 476 | 90 | 2 | 13 | 3 | 840 | 21 | 81 | 71 | 74 | 436 | 30.78 | 31.3433 | 29.3849 | 42.9532 | 39.7043 | 22.581 | 21.5966
2016 | 8 | 489 | 114 | 0 | 11 | 4 | 882 | 21 | 87 | 68 | 77 | 461 | 108.83 | 35.6713 | 39.907 | 44.0653 | 53.2434 | 27.4559 | 26.8544
2016 | 9 | 426 | 38 | 81 | 8 | 4 | 829 | 20 | 76 | 71 | 75 | 434 | 62.56 | 28.7005 | 27.0648 | 37.625 | 33.7371 | 20.8916 | 21.2266
2016 | 10 | 431 | 1 | 405 | 26 | 3 | 755 | 19 | 37 | 24 | 42 | 424 | 26.33 | 21.8867 | 22.3159 | 27.2102 | 27.2343 | 17.5026 | 18.2655
2016 | 11 | 441 | 0 | 710 | 21 | 1 | 832 | 18 | 31 | 20 | 0 | 450 | 31.46 | 24.5216 | 23.5804 | 27.9805 | 27.4901 | 21.495 | 20.1594
2016 | 12 | 522 | 0 | 1107 | 19 | 1 | 911 | 18 | 16 | 2 | 0 | 472 | 108.69 | 52.8108 | 52.5295 | 60.192 | 58.5262 | 46.7323 | 47.591

## CT
Year | Month | Energy | CDD | HDD | Peak_Day | Pk_Day_Type | Peak_Demand | Peak_Hour | Peak_DB | Peak_DP | Peak_WTHI | Min_Demand | RT_LMP | Avg_DA_LMP | Avg_RT_LMP | OnPk_DA_LMP | OnPk_RT_LMP | OffPk_DA_LMP | OffPk_RT_LMP
2016 | 1 | 2651 | 0 | 1080 | 4 | 1 | 4702 | 19 | 17 | 0 | 0 | 2440 | 68.08 | 38.3511 | 33.9319 | 45.3045 | 41.481 | 33.1032 | 28.2345
2016 | 2 | 2451 | 0 | 962 | 15 | 1 | 4960 | 19 | 13 | 7 | 0 | 2297 | 83.86 | 29.89 | 27.5135 | 33.0576 | 31.2324 | 26.9336 | 24.0425
2016 | 3 | 2309 | 0 | 674 | 3 | 4 | 4156 | 19 | 30 | 3 | 0 | 2150 | 29.8 | 20.5779 | 17.2073 | 23.0698 | 20.117 | 18.1324 | 14.352
2016 | 4 | 2140 | 0 | 499 | 4 | 1 | 4117 | 20 | 26 | 21 | 35 | 2033 | 92.1 | 28.1141 | 27.8842 | 32.5223 | 32.8917 | 24.2569 | 23.5026
2016 | 5 | 2291 | 27 | 214 | 31 | 2 | 4996 | 18 | 85 | 51 | 74 | 2022 | 36.73 | 21.2402 | 21.3369 | 24.8516 | 25.5471 | 18.2662 | 17.8696
2016 | 6 | 2483 | 29 | 18 | 29 | 3 | 5023 | 17 | 85 | 57 | 74 | 2133 | 39.02 | 22.937 | 21.6067 | 27.3231 | 26.7232 | 18.7416 | 16.7127
2016 | 7 | 3067 | 161 | 0 | 25 | 1 | 6205 | 15 | 94 | 65 | 80 | 2170 | 115.43 | 31.4988 | 29.7474 | 43.1707 | 40.1597 | 22.6897 | 21.8891
2016 | 8 | 3144 | 165 | 0 | 12 | 5 | 6522 | 16 | 93 | 72 | 81 | 2375 | 361.18 | 35.622 | 40.6263 | 43.943 | 54.2748 | 27.478 | 27.2682
2016 | 9 | 2468 | 60 | 62 | 9 | 5 | 5872 | 17 | 91 | 64 | 79 | 2020 | 135.27 | 29.0746 | 27.5261 | 37.8334 | 33.9537 | 21.4107 | 21.9019
2016 | 10 | 2191 | 1 | 366 | 27 | 4 | 3994 | 19 | 33 | 31 | 41 | 2047 | 45.19 | 21.8619 | 22.5978 | 27.1255 | 27.4734 | 17.5272 | 18.5826
2016 | 11 | 2216 | 0 | 653 | 21 | 1 | 4196 | 18 | 32 | 21 | 0 | 2132 | 32.22 | 24.829 | 24.1371 | 28.3622 | 28.2909 | 21.7375 | 20.5025
2016 | 12 | 2591 | 0 | 1012 | 15 | 4 | 4787 | 19 | 20 | -3 | 0 | 2275 | 122.26 | 52.7778 | 53.3425 | 59.9844 | 59.4454 | 46.843 | 48.3165

## RI
Year | Month | Energy | CDD | HDD | Peak_Day | Pk_Day_Type | Peak_Demand | Peak_Hour | Peak_DB | Peak_DP | Peak_WTHI | Min_Demand | RT_LMP | Avg_DA_LMP | Avg_RT_LMP | OnPk_DA_LMP | OnPk_RT_LMP | OffPk_DA_LMP | OffPk_RT_LMP
2016 | 1 | 684 | 0 | 1016 | 19 | 2 | 1237 | 19 | 23 | 6 | 0 | 631 | 68.85 | 38.5424 | 34.0172 | 45.2445 | 41.3453 | 33.4842 | 28.4866
2016 | 2 | 635 | 0 | 884 | 15 | 1 | 1242 | 19 | 22 | 16 | 0 | 635 | 84.64 | 29.9291 | 27.6161 | 32.9699 | 31.3116 | 27.0909 | 24.167
2016 | 3 | 622 | 0 | 659 | 3 | 4 | 1092 | 19 | 32 | 2 | 0 | 592 | 30.04 | 20.5364 | 17.1761 | 22.9424 | 20.0171 | 18.1753 | 14.3881
2016 | 4 | 577 | 0 | 522 | 4 | 1 | 1082 | 20 | 29 | 27 | 37 | 568 | 93.07 | 28.3003 | 27.9976 | 32.6238 | 32.9662 | 24.5172 | 23.65
2016 | 5 | 605 | 14 | 226 | 31 | 2 | 1273 | 17 | 83 | 61 | 74 | 554 | 34.75 | 20.9876 | 21.0657 | 24.531 | 25.1821 | 18.0695 | 17.6756
2016 | 6 | 668 | 28 | 20 | 29 | 3 | 1350 | 15 | 78 | 67 | 73 | 582 | 37.28 | 22.4263 | 21.0959 | 26.6322 | 26.0505 | 18.4032 | 16.3568
2016 | 7 | 848 | 167 | 1 | 25 | 1 | 1724 | 15 | 91 | 65 | 79 | 631 | 113.98 | 30.8729 | 29.1785 | 42.1863 | 39.3274 | 22.3345 | 21.519
2016 | 8 | 871 | 179 | 0 | 12 | 5 | 1816 | 16 | 91 | 76 | 82 | 694 | 368.33 | 35.3782 | 40.0701 | 43.6534 | 53.4554 | 27.2791 | 26.9697
2016 | 9 | 679 | 69 | 48 | 9 | 5 | 1652 | 16 | 91 | 67 | 79 | 568 | 136.55 | 28.4047 | 27.0643 | 37.0668 | 33.5216 | 20.8254 | 21.4142
2016 | 10 | 597 | 3 | 306 | 19 | 3 | 1052 | 15 | 80 | 63 | 73 | 564 | 26.63 | 22.0868 | 22.6674 | 27.4286 | 27.4289 | 17.6876 | 18.7461
2016 | 11 | 594 | 0 | 564 | 21 | 1 | 1115 | 18 | 34 | 19 | 0 | 586 | 32.25 | 24.8717 | 24.2428 | 28.2063 | 28.326 | 21.954 | 20.6701
2016 | 12 | 685 | 0 | 927 | 15 | 4 | 1253 | 18 | 20 | -14 | 0 | 632 | 117.25 | 53.1233 | 53.6761 | 60.154 | 59.6721 | 47.3334 | 48.7382

## SEMA
Year | Month | Energy | CDD | HDD | Peak_Day | Pk_Day_Type | Peak_Demand | Peak_Hour | Peak_DB | Peak_DP | Peak_WTHI | Min_Demand | RT_LMP | Avg_DA_LMP | Avg_RT_LMP | OnPk_DA_LMP | OnPk_RT_LMP | OffPk_DA_LMP | OffPk_RT_LMP
2016 | 1 | 1248 | 0 | 1016 | 19 | 2 | 2297 | 19 | 23 | 6 | 0 | 1126 | 68.75 | 38.7261 | 34.1545 | 45.5236 | 41.5098 | 33.5959 | 28.6034
2016 | 2 | 1141 | 0 | 884 | 14 | 7 | 2302 | 19 | 10 | -16 | 0 | 1110 | 58.59 | 30.1225 | 27.8656 | 33.2743 | 31.7661 | 27.1807 | 24.2252
2016 | 3 | 1110 | 0 | 659 | 3 | 4 | 2027 | 19 | 32 | 2 | 0 | 1054 | 30.38 | 20.741 | 17.3445 | 23.2466 | 20.282 | 18.2822 | 14.4619
2016 | 4 | 1022 | 0 | 522 | 4 | 1 | 2017 | 20 | 29 | 27 | 37 | 1015 | 94.83 | 28.434 | 28.0599 | 32.8756 | 33.0797 | 24.5476 | 23.6676
2016 | 5 | 1074 | 14 | 226 | 28 | 6 | 2302 | 18 | 88 | 63 | 76 | 1010 | 44.18 | 21.019 | 21.1016 | 24.6219 | 25.2713 | 18.0519 | 17.6678
2016 | 6 | 1189 | 28 | 20 | 29 | 3 | 2487 | 18 | 77 | 67 | 73 | 1072 | 39.71 | 22.4505 | 21.1252 | 26.7093 | 26.1311 | 18.3768 | 16.3369
2016 | 7 | 1545 | 167 | 1 | 26 | 2 | 3206 | 18 | 91 | 59 | 78 | 1145 | 42.13 | 30.9597 | 29.2736 | 42.4025 | 39.5254 | 22.3237 | 21.5364
2016 | 8 | 1581 | 179 | 0 | 12 | 5 | 3384 | 17 | 92 | 75 | 82 | 1241 | 340.64 | 35.7557 | 40.2493 | 44.4003 | 53.776 | 27.2951 | 27.0105
2016 | 9 | 1204 | 69 | 48 | 9 | 5 | 2983 | 17 | 91 | 67 | 79 | 1018 | 138.13 | 28.5871 | 27.2524 | 37.3664 | 33.8319 | 20.9051 | 21.4954
2016 | 10 | 1064 | 3 | 306 | 19 | 3 | 1916 | 19 | 74 | 46 | 67 | 1026 | 25.93 | 22.7949 | 22.8255 | 28.8051 | 27.711 | 17.8454 | 18.8021
2016 | 11 | 1069 | 0 | 564 | 21 | 1 | 2067 | 18 | 34 | 19 | 0 | 1043 | 32.67 | 24.965 | 24.3619 | 28.369 | 28.5711 | 21.9865 | 20.6788
2016 | 12 | 1250 | 0 | 927 | 16 | 5 | 2362 | 18 | 20 | 1 | 0 | 1109 | 114.93 | 53.5297 | 53.9789 | 60.6685 | 60.122 | 47.6507 | 48.9199

## WCMA
Year | Month | Energy | CDD | HDD | Peak_Day | Pk_Day_Type | Peak_Demand | Peak_Hour | Peak_DB | Peak_DP | Peak_WTHI | Min_Demand | RT_LMP | Avg_DA_LMP | Avg_RT_LMP | OnPk_DA_LMP | OnPk_RT_LMP | OffPk_DA_LMP | OffPk_RT_LMP
2016 | 1 | 1491 | 0 | 1171 | 19 | 2 | 2693 | 18 | 18 | 3 | 0 | 1393 | 85.59 | 38.679 | 34.0392 | 45.5288 | 41.4722 | 33.5093 | 28.4294
2016 | 2 | 1376 | 0 | 1028 | 15 | 1 | 2671 | 18 | 15 | 8 | 0 | 1355 | 78.65 | 29.9693 | 27.4007 | 33.1305 | 30.9894 | 27.0188 | 24.0513
2016 | 3 | 1324 | 0 | 796 | 3 | 4 | 2378 | 19 | 25 | -1 | 0 | 1272 | 29.93 | 20.674 | 17.211 | 23.1515 | 20.0785 | 18.2427 | 14.397
2016 | 4 | 1222 | 0 | 605 | 4 | 1 | 2355 | 20 | 21 | 18 | 32 | 1210 | 93.2 | 28.333 | 27.9436 | 32.7208 | 32.9318 | 24.4936 | 23.5789
2016 | 5 | 1279 | 8 | 297 | 31 | 2 | 2557 | 18 | 80 | 49 | 69 | 1206 | 36.13 | 21.2649 | 21.2945 | 24.9087 | 25.4777 | 18.2641 | 17.8496
2016 | 6 | 1379 | 6 | 57 | 20 | 1 | 2750 | 18 | 80 | 60 | 71 | 1262 | 54.82 | 22.7549 | 21.3586 | 27.0737 | 26.4033 | 18.624 | 16.5332
2016 | 7 | 1635 | 90 | 13 | 22 | 5 | 3187 | 18 | 92 | 62 | 76 | 1270 | 61.6 | 31.2755 | 29.4291 | 42.8235 | 39.7011 | 22.56 | 21.6767
2016 | 8 | 1660 | 95 | 1 | 12 | 5 | 3334 | 15 | 88 | 70 | 79 | 1436 | 377.13 | 35.6348 | 40.3038 | 43.9778 | 53.8051 | 27.4694 | 27.0898
2016 | 9 | 1349 | 31 | 111 | 9 | 5 | 3008 | 17 | 87 | 62 | 75 | 1203 | 135.63 | 28.7001 | 27.2669 | 37.5315 | 33.8545 | 20.9727 | 21.5027
2016 | 10 | 1262 | 0 | 437 | 27 | 4 | 2269 | 19 | 36 | 34 | 42 | 1229 | 46.21 | 22.1206 | 22.8764 | 27.4563 | 27.8607 | 17.7264 | 18.7717
2016 | 11 | 1284 | 0 | 699 | 21 | 1 | 2393 | 18 | 29 | 15 | 0 | 1270 | 32.43 | 25.0415 | 24.2956 | 28.5598 | 28.4696 | 21.963 | 20.6432
2016 | 12 | 1488 | 0 | 1095 | 15 | 4 | 2699 | 18 | 14 | -12 | 0 | 1420 | 118.44 | 53.2923 | 53.7924 | 60.535 | 59.9218 | 47.3277 | 48.7447

## NEMA
Year | Month | Energy | CDD | HDD | Peak_Day | Pk_Day_Type | Peak_Demand | Peak_Hour | Peak_DB | Peak_DP | Peak_WTHI | Min_Demand | RT_LMP | Avg_DA_LMP | Avg_RT_LMP | OnPk_DA_LMP | OnPk_RT_LMP | OffPk_DA_LMP | OffPk_RT_LMP
2016 | 1 | 2180 | 0 | 1014 | 19 | 2 | 3841 | 18 | 23 | 5 | 0 | 2079 | 84.94 | 38.6283 | 34.1259 | 45.3783 | 41.4966 | 33.5339 | 28.5631
2016 | 2 | 2007 | 0 | 883 | 14 | 7 | 3807 | 19 | 11 | -15 | 0 | 2036 | 58.05 | 29.8284 | 27.5102 | 33.0086 | 31.2131 | 26.8603 | 24.0542
2016 | 3 | 1962 | 0 | 707 | 4 | 5 | 3390 | 19 | 29 | 26 | 0 | 1916 | 30.83 | 20.7024 | 17.342 | 23.2192 | 20.2999 | 18.2325 | 14.4392
2016 | 4 | 1797 | 0 | 546 | 4 | 1 | 3340 | 20 | 27 | 24 | 37 | 1805 | 94.9 | 28.4303 | 28.1141 | 32.844 | 33.1705 | 24.5683 | 23.6898
2016 | 5 | 1874 | 10 | 256 | 31 | 2 | 3814 | 17 | 86 | 50 | 71 | 1803 | 34.99 | 21.1785 | 21.2535 | 24.8135 | 25.4572 | 18.1849 | 17.7916
2016 | 6 | 2031 | 24 | 24 | 29 | 3 | 4158 | 16 | 84 | 65 | 75 | 1851 | 103.48 | 23.0396 | 21.7089 | 27.8335 | 27.2541 | 18.4542 | 16.4048
2016 | 7 | 2472 | 145 | 9 | 22 | 5 | 4986 | 17 | 97 | 65 | 79 | 1950 | 53.06 | 31.6315 | 29.3404 | 43.8982 | 39.6411 | 22.3737 | 21.5663
2016 | 8 | 2515 | 172 | 0 | 12 | 5 | 5290 | 16 | 97 | 71 | 83 | 2106 | 379.13 | 35.5487 | 41.086 | 43.9847 | 55.437 | 27.2923 | 27.0403
2016 | 9 | 2031 | 63 | 50 | 9 | 5 | 4723 | 17 | 92 | 67 | 77 | 1801 | 137.9 | 34.6066 | 29.7596 | 44.8482 | 38.0786 | 25.6453 | 22.4805
2016 | 10 | 1860 | 2 | 315 | 19 | 3 | 3220 | 14 | 80 | 59 | 69 | 1831 | 91.81 | 24.6767 | 27.3203 | 32.0098 | 37.001 | 18.6376 | 19.348
2016 | 11 | 1853 | 0 | 572 | 21 | 1 | 3395 | 18 | 35 | 18 | 0 | 1875 | 32.82 | 25.9887 | 24.7376 | 30.3758 | 29.2764 | 22.15 | 20.7662
2016 | 12 | 2122 | 0 | 920 | 16 | 5 | 3888 | 18 | 19 | -2 | 0 | 2025 | 114.27 | 53.2341 | 53.9363 | 60.4822 | 60.1639 | 47.2651 | 48.8078