## Notes
ISO New England Public
Explanation of Monthly Data by Load Zone.xlsx File
The data in this file comprise monthly summaries of Real-Time (RT) demand, DA and RT locational marginal prices, weather data, peak system load, and net interchange for the ISO New England Control Area (ISO NE CA) and its eight wholesale load zones.
Column Heading |  | Description
Year |  | The calendar year of the provided data
Month |  | The calendar month of the provided data; 1 = January, 2 = February, etc.
Energy |  | The monthly total Non-PTF Demand, in GWh, for wholesale market settlement from revenue quality metering; Defined as the sum of non-dispatchable load assets, station service load assets, and unmetered load assets. Starting on June 1, 2018, this total also includes the grossed up demand response value
CDD |  | The total Cooling Degree Days (CDD) for the month; Calculated as where i=1 to number of days in the month
HDD |  | The total Heating Degree Days (HDD) for the month; Calculated as where i=1 to number of days in the month
Peak_Day |  | The day during the month in which the actual peak demand occurred
Pk_Day_Type |  | The daytype of the peak day; 1 = Monday, 2 = Tuesday, etc.
Peak_Demand |  | The maximum hourly real-time demand during the month, in MWh; the Non-PTF Demand for wholesale market settlement from revenue quality metering, and is defined as the sum of non-dispatchable load assets, station service load assets, and unmetered load assets. Starting on June 1, 2018, this total also includes the grossed up demand response value
Peak_Hr |  | The hour (ending) in which the Peak Real Time Demand occurred
Peak_DB |  | The drybulb temperature, in °Farenheit, at the time of the peak demand at the representative weather station (see below)
Peak_DP |  | The dewpoint temperature, in °Farenheit, at the time of the peak demand at the representative weather station (see below)
Peak_WTHI |  | The three-day weighted average of the temperature-humidity index at the hour of the peak demand; Calculated for the months of April through October; (See calculation notes below)
Note concerning weather data: For each load zone, a representative weather station's data is presented as outlined in the table below, and should not be construed as an observation's applicability to the entire load zone. The data on the 'ISO NE CA' tab is a weighted value, derived from historical electricity sales data, as outlined below.
|  |  | Weather | Station |  |  | NE Summer | NE Winter
|  |  | Station | Code | State | Load Zone | Weight | Weight
|  |  | Boston | BOS | MA | NEMA | 20.1% | 21.4%
|  |  | Bridgeport | BDR | CT | n/a | 7% | 7.5%
|  |  | Burlington | BTV | VT | VT | 4.6% | 4%
|  |  | Concord | CON | NH | NH | 5.8% | 5.5%
|  |  | Portland | PWM | ME | ME | 8.5% | 8.2%
|  |  | Providence | PVD | RI | RI, SEMA | 4.9% | 4.8%
|  |  | Windsor Locks | BDL | CT | CT | 27.7% | 27.7%
|  |  | Worcester | ORH | MA | WCMA | 21.4% | 20.9%
Min_Demand |  | The minimum hourly real-time demand in MWh for the month the Non-PTF Demand for wholesale market settlement from revenue quality metering, and is defined as the sum of non-dispatchable load assets, station service load assets, and unmetered load assets. Starting on June 1, 2018, this total also includes the grossed up demand response value
RT_LMP |  | Pre March 1, 2017, Hourly Real-Time Locational Marginal Price (LMP) in $/MWh at the hour of the peak demand during the month, by load zone; starting on March 1, 2017, hourly average of Five-Minute Real-Time LMP in $/MWh at the hour of the peak demand during the month, by load zone; 'ISO NE CA' tab contains values for the Trading Hub
Avg_DA_LMP |  | Average Day-Ahead Locational Marginal Price (LMP) for the month in $/MWh by load zone; 'ISO NE CA' tab contains values for the Trading Hub
Avg_RT_LMP |  | Average Real-Time Locational Marginal Price (LMP) for the month in $/MWh by load zone; 'ISO NE CA' tab contains values for the Trading Hub
OnPk_DA_LMP |  | Average Day-Ahead Locational Marginal Price (LMP) for the month in $/MWh during on-peak hours, by load zone; 'ISO NE CA' tab contains values for the Trading Hub; Null (no value) for off-peak days; Hours ending 8:00 to 23:00 on non-NERC holiday weekdays
OnPk_RT_LMP |  | Average Real-Time Locational Marginal Price (LMP) for the month in $/MWh during on-peak hours, by load zone; 'ISO NE CA' tab contains values for the Trading Hub; Null (no value) for off-peak days; Hours ending 8:00 to 23:00 on non-NERC holiday weekdays
OffPk_DA_LMP |  | Average Day-Ahead Locational Marginal Price (LMP) for the month in $/MWh during off-peak hours, by load zone; 'ISO NE CA' tab contains values for the Trading Hub
OffPk_RT_LMP |  | Average Real-Time Locational Marginal Price (LMP) for the month in $/MWh during off-peak hours, by load zone; 'ISO NE CA' tab contains values for the Trading Hub
NEL |  | (ISO NE CA tab only) is the actual monthly total New England Net Energy for Load in GWh as determined by metering, and is used for planning and reporting purposes, not for settlement; Net Energy for Load is the sum of metered generation and metered net interchange less demand from pumped storage units. Starting on June 1, 2018, this total also includes the grossed up demand response value. Beginning on April 1, 2019, this value excludes demand from energy storage devices.
System_Peak |  | (ISO NE CA tab only) is the actual New England system peak hour load during the month, in MW, as determined by metering, and is used for planning and reporting purposes, not for settlement; System Peak Load is the sum of metered generation and metered net interchange less demand from pumped storage units. Starting on June 1, 2018, this total also includes the grossed up demand response value. Beginning on April 1, 2019, this value excludes demand from energy storage devices.
System_Peak_Day |  | (ISO NE CA tab only) The day on which the System Peak Load for the month occurred
System_Peak_Hr |  | (ISO NE CA tab only) The hour (ending) when the System Peak Load for the month occurred
OP4 |  | (ISO NE CA tab only) is any reconstitution, in MW, for Actions of ISO-NE Operating Procedure No. 4, Actions in a Capacity Deficiency, at the hour of the System Peak Load during the month
Net_Int |  | (ISO NE CA tab only) The total net interchange with neighboring control areas during the month, in GWh; Positive values denote imports
Max_5_Minute_LMP |  | The highest monthly five-minute Real-Time Locational Marginal Price (LMP) in $/MWh by load zone; 'ISO NE CA' tab contains values for the Trading Hub
Neg_Intervals |  | The monthly count, by load zone, of the five-minute intervals during which the Real-Time Locational Marginal Price (LMP) in $/MWh was less than zero; 'ISO NE CA' tab contains values for the Trading Hub
DRR_MWh |  | (ISO NE CA tab only) is the grossed up monthly total of the MWh provided by Demand Response Resources in the Real-Time Market
Calculation Notes:
|  | Temperature-Humidity Index (THI) = 0.5 * Drybulb TemperatureHour + 0.3 * Dewpoint TemperatureHour + 15
|  | Weighted THI = { [10 * THId + 5 * THId-1 + 2 * THId-2] / 17 }
|  | NERC holidays are New Year's Day, Memorial Day, Independence Day, Labor Day, Thanksgiving, and Christmas
Hourly settlement values are subject to re-settlement by the ISO. Revised data may be posted at any time.
ISO New England Public
Market Analysis & Settlement
DRP Settlement Jan 2019-Sep 2019, Nov 2019-Dec 2019; Initial Settlement None; Not Settled None; RBA Settlement Oct 2019
Current output and format conventions began on 9/12/2016
Historical weather data provided by DTN, LLC

## ISO NE CA
Year | Month | Energy | CDD | HDD | Peak_Day | Pk_Day_Type | Peak_Demand | Peak_Hour | Peak_DB | Peak_DP | Peak_WTHI | Min_Demand | RT_LMP | Avg_DA_LMP | Avg_RT_LMP | OnPk_DA_LMP | OnPk_RT_LMP | OffPk_DA_LMP | OffPk_RT_LMP | NEL | System_Peak | System_Peak_Day | System_Peak_Hr | OP4 | Net_Int | Max_5_Minute_LMP | Neg_Intervals | DRR_MWh
2019 | 1 | 10903 | 0 | 1190 | 21 | 1 | 20492 | 18 | 4 | -9 | 0 | 10191 | 165.54 | 56.7629 | 51.5036 | 63.1459 | 58.8505 | 51.0312 | 44.9065 | 11077 | 20773 | 21 | 18 | 0 | 2451 | 198.87 | 106 | 2365.0262
2019 | 2 | 9507 | 0 | 986 | 1 | 5 | 18278 | 19 | 16 | -3 | 0 | 10531 | 65.53 | 35.6205 | 36.9249 | 38.3934 | 39.1208 | 33.0997 | 34.9286 | 9659 | 18585 | 1 | 19 | 0 | 2073 | 170.74 | 10 | 854.5193
2019 | 3 | 9744 | 0 | 904 | 6 | 3 | 17633 | 19 | 20 | -2 | 0 | 8949 | 66.8 | 38.0653 | 36.9198 | 40.6652 | 37.4193 | 35.9189 | 36.5075 | 9898 | 17876 | 6 | 19 | 0 | 1644 | 252.39 | 14 | 1575.846
2019 | 4 | 8500 | 0 | 488 | 9 | 2 | 14787 | 20 | 39 | 37 | 47 | 8618 | 68.76 | 26.9681 | 26.7955 | 29.4987 | 28.5211 | 24.5474 | 25.1449 | 8641 | 15034 | 9 | 20 | 0 | 1385 | 246.27 | 0 | 421.2508
2019 | 5 | 8608 | 3 | 272 | 20 | 1 | 15485 | 18 | 78 | 63 | 70 | 8509 | 31.59 | 24.2143 | 22.8867 | 26.7572 | 25.5956 | 21.9308 | 20.4542 | 8749 | 15748 | 20 | 18 | 0 | 1616 | 91.07 | 97 | 1414.0443
2019 | 6 | 9254 | 31 | 28 | 28 | 5 | 19604 | 18 | 86 | 57 | 74 | 8814 | 46 | 22.0885 | 22.4268 | 25.1898 | 24.6773 | 19.6075 | 20.6264 | 9414 | 19913 | 28 | 18 | 0 | 1745 | 264.52 | 35 | 2066.4289
2019 | 7 | 12200 | 175 | 0 | 30 | 2 | 23988 | 18 | 89 | 69 | 80 | 9948 | 51.06 | 29.7782 | 29.1826 | 33.969 | 30.0389 | 26.0151 | 28.4136 | 12393 | 24361 | 30 | 18 | 0 | 2178 | 163.29 | 16 | 5443.344
2019 | 8 | 11047 | 95 | 5 | 19 | 1 | 23025 | 16 | 88 | 70 | 79 | 9193 | 39.76 | 25.6926 | 23.5789 | 30.5345 | 26.2324 | 21.3448 | 21.1961 | 11235 | 23365 | 19 | 16 | 0 | 2241 | 110.73 | 40 | 3160.8439
2019 | 9 | 8960 | 19 | 70 | 23 | 1 | 18839 | 17 | 86 | 65 | 76 | 8831 | 43.77 | 21.1365 | 20.4459 | 24.0443 | 23.4002 | 18.8102 | 18.0824 | 9119 | 19162 | 23 | 17 | 0 | 1940 | 207.75 | 20 | 2078.9098
2019 | 10 | 8772 | 2 | 329 | 2 | 3 | 15891 | 15 | 74 | 64 | 68 | 8740 | 65.3 | 20.7461 | 20.3657 | 23.6208 | 22.8082 | 17.9327 | 17.9752 | 8920 | 16138 | 2 | 15 | 0 | 1343 | 82.9 | 9 | 1409.6085
2019 | 11 | 9289 | 0 | 779 | 13 | 3 | 17278 | 18 | 26 | 3 | 0 | 9186 | 123.71 | 32.3062 | 34.2901 | 36.6347 | 39.0472 | 28.8435 | 30.4844 | 9452 | 17548 | 13 | 18 | 0 | 2033 | 425.52 | 20 | 1512.2218
2019 | 12 | 10495 | 0 | 995 | 19 | 4 | 18759 | 18 | 18 | 1 | 0 | 9927 | 132.35 | 40.9839 | 42.7688 | 46.1805 | 51.8961 | 36.7042 | 35.2522 | 10679 | 19065 | 19 | 18 | 0 | 2413 | 285.44 | 80 | 3639.675

## ME
Year | Month | Energy | CDD | HDD | Peak_Day | Pk_Day_Type | Peak_Demand | Peak_Hour | Peak_DB | Peak_DP | Peak_WTHI | Min_Demand | RT_LMP | Avg_DA_LMP | Avg_RT_LMP | OnPk_DA_LMP | OnPk_RT_LMP | OffPk_DA_LMP | OffPk_RT_LMP | Max_5_Minute_LMP | Neg_Intervals
2019 | 1 | 1061 | 0 | 1278 | 21 | 1 | 1817 | 18 | 2 | -11 | 0 | 1046 | 156.68 | 55.5254 | 50.284 | 61.7105 | 57.422 | 49.9716 | 43.8743 | 187.88 | 146
2019 | 2 | 927 | 0 | 1081 | 26 | 2 | 1699 | 19 | 15 | -10 | 0 | 1038 | 63.93 | 35.0108 | 36.2538 | 37.9624 | 38.6038 | 32.3276 | 34.1174 | 163.3 | 11
2019 | 3 | 960 | 0 | 988 | 7 | 4 | 1642 | 19 | 20 | 0 | 0 | 951 | 65.35 | 37.391 | 36.2316 | 39.9531 | 36.7664 | 35.2758 | 35.7901 | 251.76 | 18
2019 | 4 | 867 | 0 | 617 | 8 | 1 | 1490 | 12 | 34 | 32 | 46 | 856 | 44.01 | 26.3126 | 26.1216 | 28.8732 | 27.9949 | 23.8633 | 24.3297 | 249.12 | 10
2019 | 5 | 864 | 0 | 394 | 14 | 2 | 1417 | 18 | 44 | 40 | 49 | 868 | 28.59 | 23.8268 | 22.6653 | 26.4033 | 25.4325 | 21.5132 | 20.1805 | 89.39 | 126
2019 | 6 | 860 | 7 | 106 | 28 | 5 | 1520 | 18 | 77 | 60 | 69 | 841 | 44.83 | 21.9669 | 22.1135 | 25.1665 | 24.7257 | 19.4072 | 20.0238 | 260.1 | 104
2019 | 7 | 1079 | 120 | 1 | 30 | 2 | 1962 | 14 | 86 | 70 | 78 | 951 | 55.67 | 29.088 | 28.9507 | 33.4462 | 30.0353 | 25.1746 | 27.9768 | 161.98 | 16
2019 | 8 | 1017 | 60 | 9 | 1 | 4 | 1825 | 17 | 84 | 54 | 75 | 925 | 30.48 | 25.8613 | 23.7716 | 30.8546 | 26.5861 | 21.3775 | 21.2442 | 113.43 | 40
2019 | 9 | 876 | 11 | 136 | 23 | 1 | 1560 | 19 | 77 | 64 | 71 | 891 | 36.57 | 20.9709 | 20.2726 | 24.067 | 23.4316 | 18.494 | 17.7454 | 205.56 | 25
2019 | 10 | 898 | 0 | 394 | 14 | 1 | 1470 | 19 | 58 | 52 | 59 | 893 | 18.46 | 21.0801 | 20.2744 | 24.239 | 22.7344 | 17.9884 | 17.8668 | 81.29 | 18
2019 | 11 | 929 | 0 | 860 | 13 | 3 | 1636 | 18 | 22 | 9 | 0 | 879 | 121.87 | 31.6433 | 33.1823 | 35.7636 | 38.0996 | 28.347 | 29.2486 | 390.81 | 35
2019 | 12 | 1032 | 0 | 1035 | 19 | 4 | 1781 | 18 | 19 | 0 | 0 | 976 | 123.04 | 40.1223 | 41.3809 | 45.2548 | 50.2888 | 35.8955 | 34.0449 | 266.86 | 122

## NH
Year | Month | Energy | CDD | HDD | Peak_Day | Pk_Day_Type | Peak_Demand | Peak_Hour | Peak_DB | Peak_DP | Peak_WTHI | Min_Demand | RT_LMP | Avg_DA_LMP | Avg_RT_LMP | OnPk_DA_LMP | OnPk_RT_LMP | OffPk_DA_LMP | OffPk_RT_LMP | Max_5_Minute_LMP | Neg_Intervals
2019 | 1 | 1051 | 0 | 1331 | 21 | 1 | 1944 | 18 | 0 | -10 | 0 | 955 | 161.27 | 56.4263 | 51.2203 | 62.7493 | 58.537 | 50.7485 | 44.6503 | 194.15 | 116
2019 | 2 | 919 | 0 | 1110 | 12 | 2 | 1770 | 18 | 18 | 14 | 0 | 998 | 59.67 | 35.7601 | 37.0753 | 38.6799 | 39.4596 | 33.1057 | 34.9077 | 170.29 | 12
2019 | 3 | 945 | 0 | 1021 | 6 | 3 | 1694 | 19 | 18 | -5 | 0 | 854 | 65.68 | 37.9886 | 36.884 | 40.6178 | 37.3874 | 35.818 | 36.4685 | 251.03 | 14
2019 | 4 | 836 | 1 | 586 | 9 | 2 | 1472 | 18 | 35 | 33 | 44 | 803 | 67.52 | 26.7612 | 26.6376 | 29.2964 | 28.3819 | 24.3362 | 24.969 | 247.18 | 2
2019 | 5 | 842 | 3 | 336 | 20 | 1 | 1494 | 19 | 74 | 61 | 69 | 792 | 38.9 | 24.2312 | 22.897 | 26.8476 | 25.6851 | 21.8818 | 20.3935 | 89.9 | 97
2019 | 6 | 888 | 18 | 60 | 28 | 5 | 1853 | 18 | 88 | 54 | 75 | 809 | 45.69 | 22.1344 | 22.4657 | 25.2878 | 24.7935 | 19.6116 | 20.6034 | 263.89 | 35
2019 | 7 | 1148 | 135 | 0 | 30 | 2 | 2299 | 17 | 93 | 64 | 80 | 919 | 41.8 | 29.6768 | 29.43 | 34.0497 | 30.3652 | 25.7502 | 28.5901 | 164.92 | 16
2019 | 8 | 1034 | 54 | 20 | 19 | 1 | 2157 | 15 | 88 | 68 | 78 | 863 | 52.18 | 26.0038 | 23.8472 | 30.998 | 26.6275 | 21.5193 | 21.3507 | 112.68 | 40
2019 | 9 | 854 | 10 | 162 | 23 | 1 | 1762 | 19 | 80 | 63 | 74 | 821 | 37.44 | 21.2933 | 20.5861 | 24.3234 | 23.6519 | 18.8692 | 18.1334 | 209.11 | 20
2019 | 10 | 853 | 0 | 447 | 7 | 1 | 1455 | 19 | 57 | 55 | 59 | 819 | 36.08 | 20.7277 | 20.3719 | 23.6532 | 22.8552 | 17.8645 | 17.9415 | 82.58 | 9
2019 | 11 | 909 | 0 | 928 | 13 | 3 | 1722 | 18 | 22 | 5 | 0 | 869 | 124.72 | 32.3667 | 34.4753 | 36.7654 | 39.4042 | 28.8477 | 30.5321 | 401.94 | 20
2019 | 12 | 1025 | 0 | 1151 | 19 | 4 | 1858 | 18 | 14 | -3 | 0 | 935 | 128 | 40.7968 | 42.5846 | 45.9576 | 51.6749 | 36.5468 | 35.0985 | 277.19 | 79

## VT
Year | Month | Energy | CDD | HDD | Peak_Day | Pk_Day_Type | Peak_Demand | Peak_Hour | Peak_DB | Peak_DP | Peak_WTHI | Min_Demand | RT_LMP | Avg_DA_LMP | Avg_RT_LMP | OnPk_DA_LMP | OnPk_RT_LMP | OffPk_DA_LMP | OffPk_RT_LMP | Max_5_Minute_LMP | Neg_Intervals
2019 | 1 | 524 | 0 | 1461 | 21 | 1 | 888 | 18 | 1 | -11 | 0 | 487 | 158.84 | 55.7864 | 50.2766 | 62.1374 | 57.4549 | 50.0834 | 43.8307 | 190.57 | 94
2019 | 2 | 445 | 0 | 1183 | 12 | 2 | 831 | 18 | 14 | 10 | 0 | 476 | 56.68 | 35.0626 | 36.1685 | 37.9719 | 38.3781 | 32.4178 | 34.1599 | 166.4 | 10
2019 | 3 | 449 | 0 | 1048 | 7 | 4 | 804 | 19 | 18 | -1 | 0 | 407 | 65.69 | 37.5257 | 36.406 | 40.0567 | 36.8699 | 35.4363 | 36.0231 | 246.61 | 14
2019 | 4 | 382 | 0 | 596 | 9 | 2 | 684 | 20 | 38 | 35 | 47 | 313 | 66.91 | 26.2673 | 26.003 | 28.7205 | 27.6693 | 23.9207 | 24.409 | 240.14 | 0
2019 | 5 | 366 | 0 | 313 | 28 | 2 | 635 | 19 | 50 | 47 | 57 | 306 | 36.23 | 23.6529 | 22.2549 | 26.0495 | 24.8311 | 21.5008 | 19.9415 | 88.08 | 97
2019 | 6 | 368 | 22 | 48 | 27 | 4 | 706 | 21 | 82 | 53 | 71 | 300 | 24.83 | 21.7059 | 22.0141 | 24.883 | 24.2922 | 19.1643 | 20.1917 | 260.28 | 35
2019 | 7 | 458 | 141 | 0 | 20 | 6 | 856 | 21 | 88 | 73 | 80 | 385 | 40.8 | 29.47 | 28.9408 | 33.7375 | 29.8601 | 25.638 | 28.1152 | 151.02 | 16
2019 | 8 | 424 | 56 | 5 | 19 | 1 | 788 | 19 | 85 | 61 | 75 | 376 | 28.91 | 25.4782 | 23.3726 | 30.363 | 26.095 | 21.0918 | 20.9279 | 109.58 | 40
2019 | 9 | 376 | 11 | 117 | 23 | 1 | 730 | 19 | 74 | 68 | 73 | 306 | 37.06 | 20.9365 | 20.257 | 23.9058 | 23.2953 | 18.561 | 17.8264 | 201.72 | 20
2019 | 10 | 399 | 0 | 399 | 17 | 4 | 691 | 19 | 45 | 41 | 52 | 280 | 28.13 | 20.2522 | 19.8462 | 23.0709 | 22.2309 | 17.4934 | 17.5122 | 81.86 | 9
2019 | 11 | 444 | 0 | 950 | 13 | 3 | 813 | 18 | 18 | 6 | 0 | 335 | 120.44 | 31.706 | 33.6097 | 35.9495 | 38.3387 | 28.3112 | 29.8265 | 375.34 | 20
2019 | 12 | 497 | 0 | 1139 | 19 | 4 | 843 | 08 | 0 | -10 | 0 | 443 | 138.7 | 39.9736 | 41.5121 | 45.0022 | 50.3414 | 35.8325 | 34.2409 | 276.22 | 67

## CT
Year | Month | Energy | CDD | HDD | Peak_Day | Pk_Day_Type | Peak_Demand | Peak_Hour | Peak_DB | Peak_DP | Peak_WTHI | Min_Demand | RT_LMP | Avg_DA_LMP | Avg_RT_LMP | OnPk_DA_LMP | OnPk_RT_LMP | OffPk_DA_LMP | OffPk_RT_LMP | Max_5_Minute_LMP | Neg_Intervals
2019 | 1 | 2646 | 0 | 1202 | 21 | 1 | 5116 | 19 | 4 | -12 | 0 | 2381 | 163.43 | 55.8146 | 50.6847 | 62.1671 | 57.9427 | 50.1103 | 44.1673 | 198.84 | 103
2019 | 2 | 2297 | 0 | 965 | 1 | 5 | 4589 | 08 | -2 | -13 | 0 | 2521 | 76.63 | 35.0116 | 36.371 | 37.761 | 38.4964 | 32.5121 | 34.4389 | 166.9 | 10
2019 | 3 | 2342 | 0 | 866 | 6 | 3 | 4318 | 19 | 20 | 2 | 0 | 2047 | 66.61 | 37.8183 | 36.6731 | 40.4232 | 37.2157 | 35.6678 | 36.2252 | 249.25 | 14
2019 | 4 | 1996 | 1 | 424 | 2 | 2 | 3543 | 08 | 24 | 16 | 37 | 1973 | 38.76 | 26.8488 | 26.723 | 29.4574 | 28.5351 | 24.3535 | 24.9897 | 242.2 | 0
2019 | 5 | 2057 | 6 | 200 | 20 | 1 | 3893 | 18 | 78 | 64 | 72 | 1950 | 31.43 | 23.924 | 22.7563 | 26.3827 | 25.4323 | 21.7163 | 20.3534 | 90.12 | 97
2019 | 6 | 2282 | 55 | 17 | 28 | 5 | 5183 | 18 | 92 | 55 | 77 | 2048 | 46.83 | 21.822 | 22.1766 | 25.1796 | 24.4342 | 19.1359 | 20.3705 | 265.59 | 35
2019 | 7 | 3054 | 199 | 0 | 21 | 7 | 6270 | 18 | 98 | 70 | 85 | 2393 | 41 | 29.2984 | 28.9283 | 33.4494 | 29.8544 | 25.5711 | 28.0967 | 160.09 | 16
2019 | 8 | 2709 | 108 | 5 | 19 | 1 | 5929 | 16 | 91 | 70 | 81 | 2117 | 39.46 | 25.1892 | 23.3047 | 29.9527 | 25.98 | 20.9118 | 20.9025 | 109.19 | 40
2019 | 9 | 2150 | 22 | 67 | 11 | 3 | 4803 | 18 | 88 | 67 | 75 | 1997 | 50.23 | 20.7521 | 20.2056 | 23.633 | 23.1828 | 18.4474 | 17.8239 | 202.9 | 20
2019 | 10 | 2067 | 6 | 316 | 2 | 3 | 4471 | 17 | 81 | 65 | 72 | 1964 | 42.97 | 20.4268 | 20.1375 | 23.285 | 22.5729 | 17.6293 | 17.7539 | 82.48 | 9
2019 | 11 | 2201 | 0 | 741 | 13 | 3 | 4136 | 19 | 25 | 4 | 0 | 1997 | 80.99 | 31.4952 | 33.171 | 35.7057 | 38.1394 | 28.1268 | 29.1962 | 193.63 | 22
2019 | 12 | 2526 | 0 | 1011 | 19 | 4 | 4587 | 19 | 18 | 1 | 0 | 2316 | 127.86 | 39.9851 | 41.951 | 45.1347 | 50.9584 | 35.7443 | 34.5331 | 285.3 | 76

## RI
Year | Month | Energy | CDD | HDD | Peak_Day | Pk_Day_Type | Peak_Demand | Peak_Hour | Peak_DB | Peak_DP | Peak_WTHI | Min_Demand | RT_LMP | Avg_DA_LMP | Avg_RT_LMP | OnPk_DA_LMP | OnPk_RT_LMP | OffPk_DA_LMP | OffPk_RT_LMP | Max_5_Minute_LMP | Neg_Intervals
2019 | 1 | 686 | 0 | 1083 | 21 | 1 | 1325 | 18 | 4 | -8 | 0 | 638 | 166.39 | 56.8916 | 51.5927 | 63.2258 | 58.8978 | 51.2038 | 45.033 | 200.49 | 109
2019 | 2 | 604 | 0 | 916 | 1 | 5 | 1170 | 19 | 18 | -2 | 0 | 655 | 65.85 | 35.6374 | 36.9674 | 38.3509 | 39.12 | 33.1705 | 35.0105 | 172.2 | 10
2019 | 3 | 627 | 0 | 867 | 6 | 3 | 1140 | 19 | 22 | 4 | 0 | 566 | 66.71 | 37.9058 | 36.7678 | 40.5129 | 37.2575 | 35.7534 | 36.3636 | 254.06 | 14
2019 | 4 | 549 | 0 | 452 | 2 | 2 | 943 | 20 | 42 | 24 | 42 | 554 | 38.04 | 26.8256 | 26.6692 | 29.2866 | 28.3279 | 24.4717 | 25.0826 | 246.13 | 0
2019 | 5 | 563 | 5 | 267 | 20 | 1 | 998 | 18 | 83 | 64 | 71 | 541 | 31.37 | 24.1848 | 22.7517 | 26.6135 | 25.3864 | 22.0039 | 20.3858 | 90.99 | 97
2019 | 6 | 623 | 51 | 26 | 28 | 5 | 1411 | 17 | 89 | 62 | 77 | 566 | 49.42 | 22.119 | 22.3628 | 25.0657 | 24.5192 | 19.7617 | 20.6376 | 264.58 | 40
2019 | 7 | 858 | 209 | 0 | 21 | 7 | 1763 | 18 | 96 | 73 | 84 | 658 | 41.02 | 29.8197 | 29.1054 | 33.9564 | 29.9528 | 26.1051 | 28.3445 | 163.55 | 16
2019 | 8 | 779 | 139 | 4 | 19 | 1 | 1708 | 16 | 92 | 74 | 81 | 615 | 39.74 | 25.5404 | 23.4675 | 30.3137 | 26.0738 | 21.2541 | 21.1271 | 110.28 | 40
2019 | 9 | 610 | 32 | 45 | 4 | 3 | 1306 | 17 | 83 | 69 | 75 | 577 | 27.49 | 21.0651 | 20.3708 | 23.8607 | 23.2354 | 18.8286 | 18.0791 | 206.29 | 20
2019 | 10 | 569 | 9 | 298 | 2 | 3 | 1105 | 16 | 82 | 68 | 72 | 549 | 51.28 | 20.6538 | 20.2726 | 23.4362 | 22.65 | 17.9305 | 17.9458 | 82.03 | 9
2019 | 11 | 592 | 0 | 730 | 13 | 3 | 1106 | 18 | 28 | 4 | 0 | 582 | 124.33 | 32.1837 | 34.1064 | 36.4273 | 38.8993 | 28.7888 | 30.2721 | 303.71 | 20
2019 | 12 | 662 | 0 | 920 | 19 | 4 | 1204 | 19 | 19 | 4 | 0 | 627 | 129.14 | 41.2081 | 42.9464 | 46.3489 | 52.0395 | 36.9746 | 35.4579 | 287.17 | 81

## SEMA
Year | Month | Energy | CDD | HDD | Peak_Day | Pk_Day_Type | Peak_Demand | Peak_Hour | Peak_DB | Peak_DP | Peak_WTHI | Min_Demand | RT_LMP | Avg_DA_LMP | Avg_RT_LMP | OnPk_DA_LMP | OnPk_RT_LMP | OffPk_DA_LMP | OffPk_RT_LMP | Max_5_Minute_LMP | Neg_Intervals
2019 | 1 | 1244 | 0 | 1083 | 21 | 1 | 2475 | 18 | 4 | -8 | 0 | 1164 | 164.67 | 56.9688 | 51.596 | 63.3557 | 58.9248 | 51.2337 | 45.0151 | 197.03 | 105
2019 | 2 | 1079 | 0 | 916 | 1 | 5 | 2154 | 19 | 18 | -2 | 0 | 1149 | 65.69 | 35.6565 | 36.9942 | 38.4043 | 39.2098 | 33.1584 | 34.98 | 171.77 | 10
2019 | 3 | 1111 | 0 | 867 | 6 | 3 | 2108 | 19 | 22 | 4 | 0 | 986 | 66.67 | 38.0358 | 36.8003 | 40.7799 | 37.2948 | 35.7704 | 36.3921 | 252.81 | 14
2019 | 4 | 965 | 0 | 452 | 9 | 2 | 1740 | 20 | 44 | 40 | 49 | 978 | 69.1 | 26.9673 | 26.7938 | 29.4674 | 28.4734 | 24.5759 | 25.1872 | 247.1 | 0
2019 | 5 | 988 | 5 | 267 | 20 | 1 | 1815 | 19 | 80 | 64 | 70 | 965 | 38.3 | 24.7676 | 22.8928 | 27.1776 | 25.582 | 22.6036 | 20.478 | 91.73 | 97
2019 | 6 | 1100 | 51 | 26 | 28 | 5 | 2498 | 18 | 89 | 57 | 75 | 1027 | 46.31 | 22.5398 | 22.6019 | 25.6738 | 24.8488 | 20.0326 | 20.8044 | 265.78 | 40
2019 | 7 | 1533 | 209 | 0 | 21 | 7 | 3276 | 18 | 96 | 73 | 84 | 1185 | 41.19 | 30.3053 | 29.3818 | 34.475 | 30.2417 | 26.5611 | 28.6096 | 165.74 | 16
2019 | 8 | 1400 | 139 | 4 | 19 | 1 | 3098 | 17 | 90 | 73 | 80 | 1098 | 32.76 | 25.9313 | 23.7735 | 30.8268 | 26.4448 | 21.5354 | 21.3748 | 111.58 | 40
2019 | 9 | 1061 | 32 | 45 | 4 | 3 | 2314 | 19 | 77 | 70 | 73 | 1024 | 33.36 | 21.3452 | 20.6012 | 24.2562 | 23.5419 | 19.0163 | 18.2486 | 209.72 | 20
2019 | 10 | 1013 | 9 | 298 | 7 | 1 | 1822 | 19 | 72 | 61 | 66 | 934 | 35.89 | 20.8709 | 20.4879 | 23.72 | 22.9215 | 18.0825 | 18.106 | 82.7 | 9
2019 | 11 | 1066 | 0 | 730 | 13 | 3 | 2034 | 18 | 28 | 4 | 0 | 1052 | 125.78 | 32.5895 | 34.5358 | 36.9212 | 39.404 | 29.1241 | 30.6413 | 347.07 | 20
2019 | 12 | 1218 | 0 | 920 | 19 | 4 | 2231 | 19 | 19 | 4 | 0 | 1115 | 129.29 | 41.797 | 43.2016 | 46.859 | 52.3618 | 37.6284 | 35.6579 | 286.38 | 83

## WCMA
Year | Month | Energy | CDD | HDD | Peak_Day | Pk_Day_Type | Peak_Demand | Peak_Hour | Peak_DB | Peak_DP | Peak_WTHI | Min_Demand | RT_LMP | Avg_DA_LMP | Avg_RT_LMP | OnPk_DA_LMP | OnPk_RT_LMP | OffPk_DA_LMP | OffPk_RT_LMP | Max_5_Minute_LMP | Neg_Intervals
2019 | 1 | 1519 | 0 | 1278 | 21 | 1 | 2871 | 18 | -1 | -13 | 0 | 1397 | 165.75 | 56.7423 | 51.4241 | 63.1304 | 58.7548 | 51.0061 | 44.8414 | 199.01 | 106
2019 | 2 | 1322 | 0 | 1069 | 1 | 5 | 2552 | 09 | 2 | -12 | 0 | 1490 | 71.5 | 35.6421 | 36.9117 | 38.4296 | 39.1067 | 33.1081 | 34.9161 | 170.64 | 10
2019 | 3 | 1346 | 0 | 996 | 6 | 3 | 2470 | 19 | 16 | -5 | 0 | 1216 | 66.8 | 38.1353 | 36.9748 | 40.7325 | 37.4662 | 35.9912 | 36.5691 | 252.38 | 14
2019 | 4 | 1166 | 0 | 567 | 9 | 2 | 2081 | 19 | 37 | 36 | 46 | 1164 | 77.27 | 27.0324 | 26.8414 | 29.5653 | 28.5659 | 24.6096 | 25.1919 | 246.09 | 0
2019 | 5 | 1177 | 3 | 353 | 20 | 1 | 2107 | 21 | 69 | 66 | 67 | 1166 | 41.29 | 24.2744 | 22.9304 | 26.8266 | 25.648 | 21.9825 | 20.4901 | 90.99 | 97
2019 | 6 | 1255 | 23 | 53 | 28 | 5 | 2600 | 18 | 85 | 56 | 74 | 1212 | 46.12 | 22.0902 | 22.4187 | 25.2114 | 24.6809 | 19.5933 | 20.6089 | 265.36 | 35
2019 | 7 | 1597 | 135 | 2 | 30 | 2 | 3132 | 19 | 84 | 71 | 78 | 1355 | 63.98 | 29.8131 | 29.2099 | 34.0044 | 30.0768 | 26.0494 | 28.4315 | 163.03 | 16
2019 | 8 | 1450 | 68 | 16 | 19 | 1 | 2942 | 15 | 85 | 69 | 77 | 1243 | 51.62 | 25.7158 | 23.5898 | 30.5655 | 26.2551 | 21.361 | 21.1965 | 110.65 | 40
2019 | 9 | 1193 | 13 | 123 | 23 | 1 | 2543 | 20 | 75 | 67 | 71 | 1195 | 38.83 | 21.1524 | 20.4541 | 24.0798 | 23.4274 | 18.8104 | 18.0754 | 207.33 | 20
2019 | 10 | 1198 | 1 | 425 | 2 | 3 | 2077 | 15 | 73 | 66 | 68 | 1197 | 65.28 | 20.7609 | 20.3688 | 23.6524 | 22.8188 | 17.931 | 17.9708 | 82.88 | 9
2019 | 11 | 1279 | 0 | 888 | 13 | 3 | 2405 | 18 | 22 | 0 | 0 | 1294 | 123.52 | 32.3265 | 34.3011 | 36.6749 | 39.0461 | 28.8477 | 30.5052 | 445.8 | 20
2019 | 12 | 1449 | 0 | 1089 | 19 | 4 | 2591 | 18 | 14 | -2 | 0 | 1392 | 132.28 | 40.977 | 42.7499 | 46.191 | 51.8907 | 36.6831 | 35.2223 | 285.97 | 80

## NEMA
Year | Month | Energy | CDD | HDD | Peak_Day | Pk_Day_Type | Peak_Demand | Peak_Hour | Peak_DB | Peak_DP | Peak_WTHI | Min_Demand | RT_LMP | Avg_DA_LMP | Avg_RT_LMP | OnPk_DA_LMP | OnPk_RT_LMP | OffPk_DA_LMP | OffPk_RT_LMP | Max_5_Minute_LMP | Neg_Intervals
2019 | 1 | 2171 | 0 | 1049 | 21 | 1 | 4067 | 18 | 6 | -7 | 0 | 2087 | 163.81 | 57.0739 | 51.7809 | 63.5483 | 59.1978 | 51.2601 | 45.1208 | 197.45 | 106
2019 | 2 | 1912 | 0 | 880 | 1 | 5 | 3678 | 18 | 22 | -4 | 0 | 2083 | 60.44 | 35.8965 | 37.2583 | 38.7062 | 39.5419 | 33.3422 | 35.1824 | 172.13 | 10
2019 | 3 | 1966 | 0 | 809 | 6 | 3 | 3489 | 19 | 23 | -5 | 0 | 1859 | 66.49 | 38.2215 | 37.1317 | 40.8336 | 37.644 | 36.0651 | 36.7087 | 252.22 | 14
2019 | 4 | 1739 | 3 | 435 | 9 | 2 | 2991 | 19 | 40 | 37 | 48 | 1818 | 78.52 | 27.0279 | 26.9231 | 29.5437 | 28.6467 | 24.6215 | 25.2744 | 247.89 | 0
2019 | 5 | 1751 | 6 | 257 | 20 | 1 | 3314 | 18 | 82 | 64 | 71 | 1744 | 32.11 | 24.4276 | 23.0896 | 27.0519 | 25.8792 | 22.071 | 20.5847 | 91.95 | 97
2019 | 6 | 1877 | 31 | 24 | 28 | 5 | 3874 | 18 | 83 | 63 | 72 | 1766 | 46.03 | 22.3217 | 22.6327 | 25.4188 | 24.9406 | 19.844 | 20.7863 | 266.27 | 36
2019 | 7 | 2472 | 203 | 0 | 30 | 2 | 4995 | 18 | 92 | 70 | 81 | 2026 | 51.82 | 31.0784 | 29.607 | 35.1527 | 30.6168 | 27.4198 | 28.7002 | 166.52 | 16
2019 | 8 | 2233 | 118 | 0 | 19 | 1 | 4799 | 16 | 93 | 69 | 79 | 1868 | 40.16 | 26.0882 | 23.8915 | 31.0676 | 26.614 | 21.6169 | 21.4468 | 112.62 | 40
2019 | 9 | 1840 | 31 | 26 | 23 | 1 | 4081 | 17 | 91 | 62 | 77 | 1783 | 44.59 | 21.3539 | 20.6669 | 24.3158 | 23.6847 | 18.9845 | 18.2527 | 211.56 | 20
2019 | 10 | 1774 | 5 | 241 | 2 | 3 | 3209 | 14 | 73 | 65 | 68 | 1797 | 62.43 | 20.9278 | 20.5501 | 23.8573 | 23.0523 | 18.0606 | 18.1012 | 83.61 | 9
2019 | 11 | 1869 | 0 | 669 | 13 | 3 | 3429 | 18 | 30 | 3 | 0 | 1888 | 124.99 | 32.5441 | 34.5475 | 36.9423 | 39.4691 | 29.0255 | 30.6102 | 374.92 | 20
2019 | 12 | 2087 | 0 | 857 | 19 | 4 | 3698 | 18 | 23 | 1 | 0 | 2014 | 131.22 | 41.2225 | 42.9824 | 46.3892 | 52.1218 | 36.9675 | 35.4558 | 282.02 | 80